Folder structure
Main folder
    <top>
< Module Folder >
Script 1 (.py) : Execute a command, check the read-back value, and
        operate an option
< External Module >
Main Configurations (.cfg / .conf)
 Config File (.csv)
Description about the sequences of check to be done. The set of operations must be provided step by step.
Executable file used to create automaticaly the test-bench application based on Config file
 AutoBuild File (.py)
 ValidationTest(.py)
Executable script created to provide final function tests

---
Script 1 (.py)
Where:
- « PV » is Cmd PV (from Config File)
- « XXX » is Cmd value (From Config File)
Caput « PV » « XXX »
Yes
No
« Delay » ?
Where:
- « Delay » is Time delay value (from Config File)
Wait « Delay »
Where:
- « PV » is Rdbk PV (from Config File)
- « XXX » is Rdbk value (From Config File)
Caget « PV »
Check « Threshold » ?
Where:
- « Threshold » is Rdbk/Threshold value (from Config File)
Where:
« Result » is result value (from Config File) :
Not Critical : OK continue test
Warning : Write in file « Failure Message », and continue test
Critical : Write in file « Failure Message », and stop test
Continue test depending on « Result »

---
Config File (.csv)

---
Observations / News ideas
Add a « sucess message » colonn for the reading pdf file
Result => Severity : This tool is develloped in first for a EPICS user, why don’t use the same vocabulary?
  1. ( 0 -> Rien ; 1 -> Warning ; 2 -> Error )
Future possible extension (next step ;-) )
  - Create a phyton PLC test with sending only a Excel file, because many records and perhaps borring to fill up configFile.csv, if the test are always the same?
  - Give the possibility to repeate an action ?? With an other script?
( example : Increment a voltage of a power supply every 5s)